## Slide 1: Image Processing Tool: Version 2.0
The A Team
Sanan Aamir, Romando Garcia,
Anne Lam, James Rowe, Hieu Tran
Final Presentation
May 6, 2015

## Slide 2: Outline
Introduction
System Architecture/Design Diagrams
Demo
Test Report
Deployment Issues
Work-to-date and Future Work

## Slide 3: Introduction
The Leidenfrost Effect
  Heating a liquid droplet above its boiling point creates a vapor pillow of its own gases underneath it
With little friction between vapor and surface, slight disturbances move the droplet
Ratchet surface gives just the right disturbance to control the movement
Notes: Description of problem / user's work context -25%
Plan -10%
Process Model -5%
Team Organization -5%
Interface Design and System Design -25%
System to date/ What still is left -5%
Organization of presentation -10%
Creativity -15%

## Slide 4: Our objective
Potential uses in micro-cooling
Customers, Dr. Ok and Dr. Guo, require data on droplet kinetics
Collect data from images taken through high-speed camera

## Slide 5: System Architecture
droplet

## Slide 6: UML Use Case Diagram

## Slide 7: UML Sequence Diagram

## Slide 8: UML Class Diagram

## Slide 9: Interface Design
Load Images
Name Output File
Run data set
Calibrate Processed Image
Enter frames per second
Enter distance between base/needle if known
Notes: Then actually demo – use data set that required sensitive calibration.

## Slide 10: Demonstration
Notes: Then actually demo – use data set that required sensitive calibration.

## Slide 11: Proof in the Results

## Slide 12: Test Report – Satisfied Requirements
Tracks the location of drop by following centroid
Determines location of needle/base automatically – able to fine tune
Does not require base image
Obtains volume and all required kinematics
Outputs to Excel
Generates plots as a function of time
Is Repeatable –successful for 3+ experimental sequences

## Slide 13: Test Report – Satisfied Requirements Cont’d
Removes white center in drop
Provides accurate calculations

## Slide 14: Test Report – Known problems
Run – Stop – Run again sequence may interrupt thread processes – cause crash
Similar issue with Exiting Tool during IO
Base/Needle height may not be measured accurately, will affect results

## Slide 15: Deployment Issues
Source of bugs difficult to pinpoint
UI changed fairly often
Implementation phase longer than expected

## Slide 16: Deviations – Unsatisfied Requirements
Efficiency may not be improved
  Processing time up to 2.5x longer vs Version 1.0
  From ~1 min to ~2 min
  But more robust, accurate
Microsoft Excel is required & table lacks the “frame number”
Fine-tuning results consists of adjusting black/white calibration value
Notes: Test Report – known problems; deviations from reqs

## Slide 17: Deviations – Plan
“Requirements well established” (or so we thought)
No unit testing/testing software
Did not follow task list timeline (wasn’t well planned in first place)

## Slide 18: Hypothetical – Anne
What if we had more time?
  Improve processing time, design of interface (change color scheme of form, more feedback from tool), ensure customer satisfaction
What if we could start over?
  Start coding sooner
  Plan/work on more defined, divided goals/milestones
  Interact more with customer
What I learned
  Image processing/manipulation through C#
  Software Engineering Documentation
  Team work/brainstorming

## Slide 19: Hypothetical – Sanan
What if we had more time?
What if we could start over?
What we learned

## Slide 20: Hypothetical - Romando
What if I had more time?
  Perform more test
What if I could start over?
  Communicate more with clients
  Have necessary resources
What I learned…
  Link components together using COM
  Importance of documentation/designs
  Teamwork

## Slide 21: Hypothetical – James
What if we had more time?
  Further optimization of process time
What if we could start over?
  Collaborate with customer more often
  Consider an Agile development approach
What I learned
  Proper software development process
  Practical use of multithreading

## Slide 22: Conclusion
Project is overall success
  Almost all goals achieved
  Accurate results
  Highly automated (Little user interaction)
  Structured development process

## Slide 23: References
"The Leidenfrost Effect: How to Make a Liquid Levitate." YouTube. YouTube, n.d. Web. 10 Mar. 2015.
Questions?